Fire risk assessment

Policy FHS 046P

Introduction

The correct approach to fire safety is to undertake a systematic and competent fire risk assessment of facilities and workplaces. The purpose of the fire risk assessment is to identify fire hazards and put in place workplace precautions that will protect human life and Company assets.

The requirement to implement fire risk assessments is specified within the Regulatory Reform (Fire Safety) Order 2005, The Fire (Scotland) Act 2005 and the Fire Safety (Scotland) Regulations 2006.

Management and assessment of fire risk

The Company shall use this document to guide the completion of suitable and sufficient fire risk assessments.

The Company shall manage the evaluation of fire risks by using the following staged approach:

| Stage 1 | Identify potential fire hazards in the workplace. |
| --- | --- |
| Stage 2 | Decide who (employees, visitors) might be in danger in the event of a fire in the workplace, or while trying to escape from it, and note their location. |
| Stage 3 | Evaluate the risks arising from the hazards present. Decide whether existing fire precautions are adequate, or whether more should be done to eliminate hazards or control the risks they present. |
| Stage 4 | Record the risk assessment findings and detail any corrective actions or improvements taken as a result. Inform employees. |
| Stage 5 | Review the risk assessment when changes are made (to internal layouts, equipment, activities etc) that affect the fire risk profile. |
| Stage 6 | Training employees and ensuring their ongoing competence. |
| Stage 7 | Supervision of employees. |
| Stage 8 | Monitor implementation. |
| Stage 9 | Audit. |
| Stage 10 | Review. |

### Stage 1 – identifying potential fire hazards

A hazard is something which has the potential for causing harm, in this case, fire. The Company shall identify sources of:

- ignition, e.g., flames, sparks, or hot surfaces;

- fuel, e.g., waste cardboard chemicals or textiles;

- oxygen, e.g., oxidising chemicals.

### Stage 2 – who might be harmed and where

If there is a fire, the main priority is to ensure that everyone can move away from danger and reach a place of safety. Putting the fire out is secondary to ensuring the safety of life.

The Company shall identify who may be at risk if there is a fire, how they are to be warned, where they are and how they can escape safely. The potential for a fire to spread should be considered, as fire, heat and smoke 
can spread rapidly through the workplace, putting lives at risk some distance from the original incident.

Note: the special requirements of disabled employees, visitors and contractors shall be considered using an individual personal emergency evacuation plan (PEEP).

### Stage 3 – evaluate the risks

The Company shall evaluate whether existing arrangements are adequate and identify where increased controls are required.

Decisions shall consider:

- the chance of a fire occurring and whether the sources of ignition can be reduced, the presence and availability of a potential fuel can be minimised, or sources of oxygen can be controlled;

- the existing fire precautions and an identification of whether they are sufficient to control remaining fire risks and whether they ensure that everyone is warned in case of fire;

- the facilities available for use by employees and others in the event of a fire, including ‘means of escape’ and fire extinguishers and whether these are safe to use.

Workplace precautions shall aim to treat the cause of fire and mitigate the risk in the event that a fire does occur.

### Stage 4 – record the findings

If a Company has fewer than five employees at a site, the risk assessment findings do not have to be documented.  Where there are more than five employees at a site, the significant findings of the fire risk assessment must be recorded. Details of any people identified as being at particular risk must also be recorded. For larger buildings, inclusion of a plan of the building may be useful.

### Stage 5 – review

Inevitably, changes will occur within workplaces. These may have an effect on the fire hazards within buildings and associated fire precautions may need to be adjusted. Changes likely to have these effects will include changes in work processes, building design, furniture layouts or an increase/decrease in the number of people likely to occupy a building. Any of these changes can create new fire hazards and may increase the resultant risks. Any significant changes will require the fire risk assessment to be re-visited in light of the new risks.

The Company shall review fire risk assessments annually or if a fire or near miss occurs, since these incidents may indicate that the existing assessment is out-of-date or inadequate. They shall also be updated if a building works project is to be undertaken.

### Stage 6 – training and competence

The Company shall provide appropriate managers and employees with suitable and sufficient training, and 
re-training at appropriate intervals, to ensure they are able to undertake competent fire risk assessments.
Advice from specialist competent external support may be required.

### Stage 7 – supervision

The Company shall ensure that activities are adequately supervised

### Stage 8 – monitoring

The Company shall monitor the performance of employees who are involved in the implementation of this policy.

### Stage 9 – audit

The Company shall audit to ensure that processes and documents relating to this policy are properly implemented.

### Stage 10 – review

The Company should review this policy as required by the outcome of monitoring, audit and/or changes in legislation or guidance.

Manager responsibilities

Managers will ensure that fire risk assessments are in place for their areas of responsibility.

They shall ensure that the findings and recommendations from the assessments are put into effect and that the compliance is monitored .

They shall ensure that all records are properly maintained.

Employee responsibilities

Employees are required to report to their manager:

- any defects or shortfalls found in fire precautions, or systems of work.

All employees must:

- adopt fire precautions and systems of work in accordance with the training and instruction provided.